# <!--PROJECT_NAME-->

# <!--PROJECT_LOCATION-->

Flood Risk Assessment
● <!--PROJECT_NUMBER-->-EWP-ZZ-XX-RP-C-00001

| Project number Project name Client Status Revision Date | <!--PROJECT_NUMBER--> <!--PROJECT_NAME--> <!--CLIENT_NAME--> TBC P1 XX.XX.XXXX |
| --- | --- |

| Document Control |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Remarks: |  |  |  |  |  |  |
| Revision: | Prepared by: | "[Name]" | Checked by: | "[Name]" | Approved by: | "[Name]" |  |
| Date: | Signature: |  | Signature: |  | Signature: |  |  |

This report is for the sole use of the <!--CLIENT_NAME--> for whom the report is undertaken and cannot be relied upon by third parties for any use whatsoever without the express authority of Elliott Wood.

# Contents

1.	Executive Summary	4

2.	Introduction	4

3.	Site Context	4

3.1	Site Location	4

3.2	Existing Development	4

3.3	Existing Site Topography	4

3.4	Underlying Site Geology and Hydrology	5

3.5	Critical Drainage Area	5

4.	Proposed Development	5

5.	Planning & Flood Risk Management Policy	5

5.1	Policy Summary	5

5.2	Flood Risk Vulnerability	5

5.3	Sequential and Exception Test	6

6.	Pre-Application Advice	6

6.1	Environment Agency	6

6.2	Lead Local Flood Authority	6

7.	Sources of Potential Flooding	6

7.1	Historic Flooding	6

7.2	Fluvial and Tidal Flooding	6

7.3	Surface Water Flooding and Overland Flow	6

7.4	Groundwater Flooding	7

7.5	Flooding from Artificial Waterbodies	7

7.6	Infrastructure Failure and Sewer Flooding	7

8.	Flooding Mitigation Measures	8

8.1	Flood Warning	8

8.2	Flood Mitigation and Resilience Measures	8

8.3	Floodplain Compensation	8

9.	Conclusions	8

Appendices	9

Appendix A: Topographic survey	10

Appendix B: EA Product data	11

Appendix C: Sewer asset records	12

Executive Summary

X

Introduction

Elliott Wood Partnership has been commissioned by <!--CLIENT_NAME-->  (herein referred to as the 'Applicant') to prepare this Flood Risk Assessment (FRA) to support the planning application for the redevelopment at <!--PROJECT_LOCATION-->.

This report reviews all potential sources of flooding to the proposed development, evaluates the sensitivity of the site to flooding and considers any impact to the surrounding area that the proposed development may cause. This is in line with the requirements of the National Planning Policy Framework (NPPF).

The flood risk mechanisms being considered as part of this FRA are as follows:

Fluvial and tidal

Surface water and overland flow

Groundwater

Flooding from artificial waterbodies

Infrastructure failure and sewer flooding

Site Context

Site Location

Add in typical site location text here.

Figure 1: Site location

Existing Development

Add in existing site description text here.

Figure 2: Existing site layout / aerial photo of existing site

Existing Site Topography

Describe existing site topographic, reference topographic survey.

Underlying Site Geology and Hydrology

Geology

Add in site geology description. Refer to BGS data and any SI reports.

Hydrology

Add in site hydrology description – mention nearby watercourses, groundwater levels, aquifers, source protection zones. Refer to BGS data and any SI reports.

Critical Drainage Area

A Critical Drainage Area (CDA) is a specific area of significant flood risk characterised by the amount of surface run-off that drains into the area, the topography, hydraulic conditions of the pathway (e.g. sewer, river system), and the receptors (people, properties, and infrastructure) that may be affected.

List whether site is in critical drainage area (or equivalent).

Proposed Development

Summarise development proposals – include description of development for planning. Include render of proposals if available.

Figure 3: Proposed development

Planning & Flood Risk Management Policy

Policy Summary

It is important to assess the flood risk posed to the development of this site from all sources of flooding, in accordance with National Planning Policy Framework (NPPF) requirements.

The flood risk sources being considered as part of this FRA are as follows:

Fluvial and Tidal

Surface Water and Overland Flow

Groundwater

Flooding from Artificial Waterbodies

Infrastructure Failure / Sewer Flooding

The following documents have been reviewed in the preparation of this FRA:

National Planning Policy Framework (NPPF)

Planning Practice Guidance (PPG)

x

Flood Risk Vulnerability

When considering the flood risk vulnerability, the proposed development consists of [add description of development types and their flood risk vulnerability classification in accordance with the NPPF Annex 3].

The proposed development is to be located across Flood Zone [x]. In line with paragraph 079 of the National Planning Practice Guidance (NPPG) for Flood risk and coastal change published on 25th August 2022 (see Table 1) the proposed development is considered acceptable.

Table 1: Flood risk vulnerability and flood zone ‘incompatibility’, as taken from Gov.uk website

| Flood Zones | Flood Risk Vulnerability Classification |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Essential infrastructure | Highly vulnerable | More vulnerable | Less vulnerable | Water compatible |
| Zone 1 | ✓ | ✓ | ✓ | ✓ | ✓ |
| Zone 2 | ✓ | Exception Test required | ✓ | ✓ | ✓ |
| Zone 3a | Exception Test required | X | Exception Test required | ✓ | ✓ |
| Zone 3b | Exception Test required | X | X | X | ✓ |

Sequential and Exception Test

The aim of the sequential test is to steer new development to areas with the lowest risk of flooding. Where there are no reasonably available sites in Flood Zone 1, local planning authorities in their decision making should take into account the flood risk vulnerability of land uses and consider reasonably available sites in Flood Zone 2 & 3 (areas with a medium or high probability of river or sea flooding), applying the Exception Test if required. The Exception Test is a method to demonstrate and help ensure that flood risk to people and property will be managed satisfactorily, while allowing necessary development to go ahead in situations where suitable sites at lower risk of flooding are not available.

Add in text if Sequential and/or Exception tests apply.

Pre-Application Advice

Environment Agency

X

Lead Local Flood Authority

X

Sources of Potential Flooding

Historic Flooding

Refer to any instances of historical flooding in SWMPs, SFRAs, EA data, and GIS data, e.g.:

The Environment Agency (EA) have confirmed in their Product 4 response that they do not hold any records of historic flood events from rivers or sea which affected the site.

Fluvial and Tidal Flooding

<!-- INSERT_FLOOD_ANALYSIS_HERE -->

Surface Water Flooding and Overland Flow

<!-- INSERT_SURFACE_WATER_ANALYSIS_HERE -->

Groundwater Flooding

Groundwater flooding can occur following an extended prolonged period of low intensity rainfall, when water levels in the ground rise above surface levels. The future risk from this source is more uncertain than surface water as climate change predictions indicate that although sea levels will rise, thus possibly raising groundwater levels, overall summer rainfall will decrease, therefore having a long-term effect of lowering the groundwater levels. However, long periods of wet weather are predicted to increase, and these are the type of weather patterns that can cause groundwater flooding to occur.

X

The risk of flooding from groundwater is considered to be low / medium / high [delete as appropriate], however mitigation measures should be considered for the basement to prevent groundwater ingress.

Flooding from Artificial Waterbodies

Reservoir Flooding

<!-- INSERT_RESERVOIRS_ANALYSIS_HERE -->

Waterway/Canal Flooding

Both a waterway and a canal can be defined as an artificially constructed water channel.

The nearest canal to the site is the [name of canal / waterway] which is located approx. [distance and direction of canal / waterway from site]. Add discussion on risk of flooding from canal / waterway.

The risk of flooding from canal / waterway failure is considered to be low / medium / high [delete as appropriate].

Infrastructure Failure and Sewer Flooding

Water Main Failure

[Water authority] is the principal water supply provider for the area. A copy of the [water authority] asset maps is included in Appendix X.

Discuss water mains, e.g.:

There is a [list diameter] trunk main located beneath [road/street]. This is a cast iron main and therefore likely to be older and more likely to rupture than a modern plastic water main. Due to its size, this trunk main could potentially pose a flood risk to the site in the event of a rupture. Should the water main burst near the site, [describe consequences].

The risk of flooding from water main failure is considered to be low / medium / high [delete as appropriate].

Public Sewer Failure

[Sewer authority] is the principal sewerage supply provider for the area. A copy of the [sewer authority] asset maps is included in Appendix X.

The asset maps show there are several public sewers in the vicinity of the site as follows:

List diameter, type, direction of flow of sewers.

Reference any sewer flooding history enquiries made.

The risk of flooding from public sewers is considered to be low / medium / high [delete as appropriate]. The potential risk of sewer surcharge should be considered and recommended measures undertaken to protect the site against the risk of sewer surcharge.

Private Drainage

Reference CCTV survey if available and any mitigation measures suggested if reusing existing pipework.

The risk of flooding from private drainage is considered to be low / medium / high [delete as appropriate]. All new drainage will be designed to protect the building from sewer surcharge, however mitigation measures should be undertaken to improve the structural / operational condition of the existing drainage and ensure suitability for reuse.

Flooding Mitigation Measures

Flood Warning

The site is located in an area that can receive free flood alerts via the GOV.uk “Flood Information Service”.

Subscribers to this service are eligible to receive free warnings by telephone, mobile, email, text message or fax, whichever is most convenient. It is recommended that the occupier/proprietor of each property on the site subscribes to this warning service. Those who sign up for the telephonic service, for instance, will receive an automated message via the phone telling them that flooding is expected and giving advice as to what actions should be taken.

Flood Mitigation and Resilience Measures

Fluvial and Tidal Flooding

Discuss any EA requirements such as raised FFLs, access and egress, flood compensation provision (for the latter set out detail in Section 8.3).

Example mitigation measures – delete/revise as appropriate:

It is recommended that the flood resilience measures set out in the CIRIA guide Improving the Flood Performance of New Buildings – Flood Resilient Construction are incorporated.

If the above mitigation measures are incorporated, the risk of flooding from fluvial and tidal sources is reduced to low.

Surface Water Flooding and Overland Flow

Example mitigation measures – delete/revise as appropriate:

External ground levels will be redeveloped and set to direct surface water away from building thresholds.

The new surface water drainage system for the site will be designed for the 1 in 100-year storm event plus an appropriate allowance for climate change. The new surface water drainage system will capture runoff from new hardstanding areas. Runoff rates from all areas will be evaluated such that proposed runoff rates do not exceed the existing runoff rates, thus not increasing the flood risk to the river/sewer or any downstream catchments. Therefore, any patches of surface water shown to originate on the existing site will be reduced or eliminated following the inclusion of the site’s new drainage system.

If the above mitigation measures are incorporated, the risk of flooding from surface water and overland flows is reduced to low.

Groundwater Flooding

Example mitigation measures – delete/revise as appropriate:

Site investigations in the form of groundwater monitoring should be undertaken prior to works starting on site to confirm groundwater levels across the site and to inform whether protection measures against flotation for any buried services may be required.

All existing and new basement areas will be constructed to provide a Grade 3 basement environment, using waterproof concrete and a membrane/drained cavity as appropriate. All penetrations through the basement walls and floors should be suitably sealed to prevent groundwater ingress.

If the above mitigation measures are incorporated, the risk of flooding from groundwater is reduced to low.

Flooding from Artificial Waterbodies

Example mitigation measures – delete/revise as appropriate:

It is recommended that the building be registered to the “Flood Information Service” to receive advanced warnings of a flood event. This will allow preparations (e.g. evacuations) to be made should a reservoir flood event occur at the same time that river levels are high.

In the unlikely event that a reservoir flood occurs, the mitigation measures set out in Section 8.2.1 to address tidal and fluvial flooding will also mitigate against reservoir flooding.

If the above mitigation measures are incorporated, the risk of flooding from artificial waterbodies is reduced to low.

Infrastructure Failure and Sewer Flooding

Example mitigation measures – delete/revise as appropriate:

To prevent water from entering the site in the event of a water main burst, the proposed vehicle entrance should be raised above the roadway level to allow floodwater to be retained within the extent of the public highway.

Sewer capacities for the acceptance or proposed flows should be checked with [sewer authority] via a pre-planning enquiry.

Where flows from the proposed site are to be discharged to the public sewer network, the potential risk of sewer surcharge should be considered. Pumping stations should be considered where necessary, with dual pumps (in a duty-standby arrangement), alarms, non-return valves and control panel telemetry / links to the BMS system. All basement drainage will be positively pumped with non-return valves to the gravity network to overcome the risk of basement flooding due to sewer surcharge.

The proposed development will incorporate sustainable drainage systems (SuDS) to attenuate water on the site and enhance water quality. The surface water drainage system will be designed such that there is no flooding on site for the 1 in 30-year storm event, and all flows for the 1 in 100-year storm event plus an appropriate allowance for climate change will be contained safely within the site boundary with no breach of building thresholds.

For any existing private drainage which is proposed for reuse, it is recommended that remedial measures are undertaken to improve the operability and/or structural condition as required. This may include (but is not limited to) high pressure jetting to remove siltation and settled deposits, pipe relining and patch repairs.

Details of the proposed surface water drainage strategy are outlined in report [report reference].

If the above mitigation measures are incorporated, the risk of flooding from infrastructure failure and sewers is reduced to low.

Floodplain Compensation

Discuss EA requirements and analysis of level-for-level, volume-for-volume floodplain compensation.

Conclusions

X

# Appendices

- Appendix A: Topographic survey

- Appendix B: EA Product data

- Appendix C: Sewer asset records

| • Fitzrovia The Building Society 55 Whitfield Street London W1T 4AH • +44(0)20-7499-5888 |  | • Wimbledon The Building Society 241 The Broadway London SW19 1SD • +44(0)20-8544-0033 |  | • Nottingham St Mary’s Hall 17 Barker Gate Nottingham NG1 1JU • +44(0)1158-223-148 |  |
| --- | --- | --- | --- | --- | --- |

• info@elliottwood.co.uk

• elliottwood.co.uk